Research Protocol

The first part of non-aerosolizing mask testing has been performed at the General Dynamics laboratory, consisting of a standardized smoke test performed on an adult respiratory dummy (1). The standardized smoke test has confirmed absence of mask leak using the non-aerosolizing mask, using the using standard CPAP and BiPAP conditions, up to 25 mm H2O positive pressure.

The second part of the research protocol is the part for which this HSREB protocol application is being completed. This will take place in the “Rapid Assessment Zone” of the Emergency Room of London Health Sciences Center. This is a negative pressure area considered safe for application of non-invasive positive pressure ventilation in patients with or without Coronavirus (COVID-19).

When a patient is identified by a health care professional to require non-invasive positive pressure ventilation (NIPPV), the patient’s needed mask size will be determined as standard care, using an ErgoFitTM Headgear Sizer. The appropriate size of CPAP or BiPAP mask will be identified (“Small”,”Medium”, “Large” or “Extra-large”).

There are currently four available non-aerosolizing mask sizes, in “small”,”medium”,”large” and “extra-large.” When a patient requiring NIPPV requires a mask size for which a non-aerosolizing mask is available, he or she will be approached by the research assistant for informed consent.

Consenting patients will be randomized to either standard or non-aerosolizing mask, using a random-number generator between 0 and 1 (with 0-0.5 to standard and 0.51 to 1.0 to non-aerosolizing mask).

When a standard mask is no longer required for a patient, it will be cleaned as per pre-existing standard protocol. When a non-aerosolizing mask is no longer required for a patient, it will be disassembled then immersed for 5 minutes in a bleach bath, then dried and reused. This protocol is as per previously described to inactivate coronavirus and other bacterial and viral agents (2).

All randomized patients will have the following data collected:
Demographic:(i) Age	(ii) Sex	(iii) Height	(iv) Weight
(v) Presence (or absence) of dentures
(vi) Presence (or absence) of beard or moustache

Clinical data:	(i) Arterial blood gas measurements, including pCO2, pH, HCO3 and pO2
No additional blood work will be required for the study; only blood work performed as standard care will collected.
(ii) Vital signs data including heart rate, respiratory rate, blood pressure,
and body temperature.

Safety data:	From initiation to completion of use of the standard or non-aerosolizing mask, reports of:
1. Nasal or oral bleeding
2. Pneumothorax
3. Ulcers
The electronic medical record (Powerchart) will be accessed to review and to collect the above data.

References
(1)	Hui DS, Chan MTV. Exhaled Air Dispersion During Noninvasive Ventilation via Helmets and a Total Facemask. Chest 2015: 147(5); 1336-1343.
(2)	Kampf G, TOdt D, Pfaender S and Steinmann E. Persistence of Coronaviruses on Inanimate Surfaces and Their Inactivation with Biocidal Agents. Journal of Hospital Infection March 2020: 104(3): 246-251.

Patient requires NIPPV
Non-aerosolizing mask available in patient size
No
Not considered for study
Yes
Patient is approached by research assistant
No
Consenting?
Not considered for study
Non-aerosolizing mask
Standard mask

Randomization
Patient’s face size evaluated (standard care)

Yes
Data collection and analysis

NIPPV started
NIPPV ended
Study Protocol

NIPPV = Non-invasive positive pressure ventilation